SUPPLEMENTARY INFORMATION

Chemistry and pharmacological aspects of Aridanin, a lead compound from Tetrapleura tetraptera (Fabaceae)

General instrumentation

EI-MS and ESI-MS were recorded on a Finnigan MAT 95 spectrometer (70 eV) with perfluorokerosene as a reference substance for EI–HR–MS. The spectrometer operated in positive and negative modes (m/z: 50-1500, with a scan rate of 1.00 Hz) with automatic gain control to provide high-accuracy mass measurements within 1 ppm deviation using Na formate as calibrant. The following parameters were used for experiments: spray voltage of 4.5 kV, the capillary temperature of 200 °C. Nitrogen was used as sheath gas (4 l/min). The 1H- and 13C-NMR spectra were recorded at 500 MHz and 125 MHz, respectively on Bruker AMX 500 NMR spectrometers chemical shifts are reported in δ (ppm) using TMS as internal standard and coupling constants (J) were measured in Hz. Column chromatography was carried out on silica gel (70‒230 mesh, Merck). Thin-layer chromatography (TLC) was performed on Merck precoated silica gel 60 F254 aluminium foil, and spots were detected using ceric sulphate spray reagent.